February 2019

FACILITIES: Projects in Planning

- ACES Funk Library – Interior/exterior lighting – Initial estimate received from F&S to re-lamp the atrium “chandelier” and the exterior skylight “canyon” fixtures to LED.  Revised estimates are being made by F&S.

- ACES Funk Library – Additional Staff Offices – F&S negotiating with consultant to design office space for staff on the second floor.

- AFMFA F&S - $40M Campus Wide Requests:

  - Main Library Roof and HVAC Exterior Ductwork Replacement – F&S is working on the consultant selection process

  - Undergraduate Library – Elevator Replacement – Will be rolled together with the project above

- Grainger Engineering Library – Second Floor Wood Floor. Library Facilities and Grainger Library are reviewing options – Summer 2019

- Grainger Engineering Library – Major building component review; flooring replacement (carpet), furniture replacement (lounge and reading table chairs), lighting upgrade (4’ fluorescent pendant fixtures), deep cleaning.

- Library Programming and Conceptual Design – Finalizing consultant/subconsultant hiring and reviewing comprehensive project schedule.

- Main Library Exterior Renovations Phase 2C – South Light Court & 1962 NW Addition – Window replacement and masonry repair.  Project placed on the Facilities Planning Committee project list for FY19.

- Main Library – Verizon Cellular Signal Amplification - Technology Services is working with F&S and Verizon Wireless to install components in the Main Library – 6th Stack Addition – final drawings are approved.  Waiting for Verizon to set up project schedule for implementation.

- Main Library – Rare Book & Manuscript Library – security review – ongoing

- MPAL Ceiling Tile Replacement – Initiating conversation with Facilities & Services for possible funding sources

- MPAL Revisit previous planning initiatives – public computer area, reading room furniture, power upgrade, ceiling replacement, etc. – Project placed on the Facilities Planning Committee project list for FY19.

- Math Library – Altgeld Hall Remodeling –Professional Service Consultant process is in final stages.

- Oak Street Library Facility – Vault IV Feasibility Study – On hold

- Undergraduate Library – Self Check Review – Meeting being set with vendor.

FACILITIES: Projects in Construction

- ACES Funk Library – Interior Signs – Revising main wayfinding signs – lower level through 5th floor. F&S Sign Shop installed lower level and main level, reviewing when the second through fifth floor beginning the fabrication and installation.

- AFMFA F&S - $40M Campus Wide Requests:

  - Main Library -  Reading Room 200 Renovation & Room 220 Conceptual Design – Schematic Design/Design Development Submittal arrived January 16, 2019 and draft conceptual design for room 220 arrived January 23, 2019

- Main Library – Rare Book & Manuscript Library – Additional furniture components for incoming staff in 328.

- Main Library – F&S – North, South & East Stairway “renovation” – stair tread cleaning – F&S funding approved. F&S Building Services Workers – Flooring Crew started work July 2018 on south stairs, process is slow due to traffic and large portion of work is being done by hand.

- Main Library – 1st Floor Central Service Point – 50% construction document submittal review in progress.

- Main Library – Basement Main Stacks entry ramp renovation – F&S cement finishers will be performing the work.  On Hold

- Oak Street Library Facility – Outdoor concrete pad installation for bicycle parking and picnic tables – work order had been sent to F&S.  Waiting for F&S and contractor services to mobilize on site.

- University Press – Ongoing surplus furniture removal and collection handling for processing.

FACILITIES: Project Completion

- Main Library – Elevator Upgrade – E5 (east) summer 2018.  The project is a Campus wide multiple elevator upgrade project.  The elevator cabs and controls for E5 elevator will be upgraded to provide reliable transportation throughout the Main Library.  Complete - November 2018.