June 25, 2021

FACILITIES: Projects under consideration

- Hort Field Lab – swipe card access at west ADA entry; estimate received by F&S and on-hold for funding.

- Hort Field Lab – Clearing out of Room 6 – Room 6 has antique equipment, along with seeds and is rodent/pest issue. Review of space and equipment needs done to clear space and prevent further rodent/pests

- Main Library Exterior Renovations Phase 2C – South Light Court & 1962 NW Addition – Window replacement and masonry repair.  Project placed on the Facilities Planning Committee project list for FY20.

- Oak St Solar Array – exploring possibility of installing solar panels on Oak St roof; possible grants exist, need to determine roof structural integrity

FACILITIES: Projects in Planning

- Grainger Engineering Library – Second Floor Wood Floor. Library Facilities and Grainger Library are reviewing options.  Currently on hold.

- Grainger Engineering Library – 1st floor terrazzo – strip/wax floor, working to schedule.

- Grainger Engineering Library –looking at reviewing HVAC requirements/loads for Room 59 testing center. This will be tied into projects for UGL services move.

- Main Library Roof and HVAC Exterior Ductwork Replacement – a portion of AFMFA 2018-2019 funding is allocated to this. Project scope and hiring of A/E to occur July/August 2021.

- Main Library Rm 204 WAPs/Info Desk – plans reviewed and approved for install of wireless access points (WAPs) within the lower north/south ceilings near columns. Removal of old information desk reviewed and work order submitted, as WAPs to remain and be concealed in permanent exhibit display cases.

- MPAL Remodel – Project planning to be initiated.  Potential scope of work to include, lighting upgrade, flooring replacement, rearrange shelving, ceiling replacement, ADA entry, and painting.

- Math Library – Altgeld Hall Remodeling – Design Development continuing; A/E conducting investigations for restoration of murals and exploratory of building systems.

- Oak Street Library Facility - Conservation Lab Humidification – Install humidification in the existing HVAC system – F&S is putting together estimates.

- Ricker Library – power distribution in east wing for computers, scanning, and collaboration tables.  Estimate received by F&S and under review.

- Undergraduate Library – redevelopment project to turn UGL into a library to house special collections; PSC awarded contract on 6/24/21

- Undergraduate Library – various projects to begin in Grainger, Main, and ACES that will relocate UGL services; project planning for all moves to start July 2021.

FACILITIES: Projects in Construction

- ACES – F&S converting entire building from pneumatic VAV box controls to DDC.  This is F&S funded.  Basement, 4th, and 5th floors complete; 3rd floor scheduled start July 6th followed by 2nd and 1st floor.  Rescheduling of floors may occur based on Dept of ACES 1st floor needs.

- Grainger Engineering Library – IDEA lab panels installed, awaiting final room signage

- Main Library - Reading Room 200 Renovation – Room 200 flooring complete, awaiting metal transition strips to be installed at entry’s; shelving to be reinstalled in south end stating week of 6/28/21; AHU replacement awaiting data conduit/cabling to be installed before starting unit.  Anticipated start-up July 2021.

- Main Library - Room 220 – Furniture and Orange Boxes installed. AV/IT installing equipment. Electrical and data to be wired into Orange Boxes, work orders submitted requires follow-up on schedule.

- Main Library – F&S – North, South & East Stairway “renovation” – stair tread cleaning – F&S funding approved. F&S Building Services Workers – Flooring Crew will be reviewing the lack of progress with the University Library. Due to COVID, this was delayed. Following up with BSWs to determine when it will be scheduled.

FACILITIES: Projects Completed

- Oak Street Library Facility – BAS Controls on F&S units have been replaced